# Manual j Inspection guidelines

## Rough Inspection Requirements:

The following items are Manual J rough inspection requirements:

- Stamped “APPROVED” copy is on-site

- Equipment model number or output capacities match the report (if installed)

- The installed Window [SHGC] and U-Values are accurate

  - If the installed windows have a lower [SHGC] and/or U-value, no changes will be required.

- The solar orientation is within 45 degrees of the design

- Mechanical ventilation duct is installed and is sized as depicted on the design page (if applicable)

- The number of supply and return air terminations have been installed in each designed zone

  - The actual location of the terminations may vary as long as the correct number have been installed

## Final Inspection Requirements:

The following items are Manual J final inspection requirements:

- Stamped “APPROVED” copy is on-site

- Model number or output capacities of the installed equipment match the designed report

- The solar orientation is within 45 degrees of the design

## Questions:

For any questions, please call (208) 887-2211 and ask to speak with the City of Meridian’s Mechanical Plan Reviewer.