# Manual j plan review guidelines

## Items Reviewed For Accuracy to the Submitted Plans:

The following items are reviewed for accuracy to the submitted plans:

- Solar orientation (the homes alignment in relation to the sun)

- Floor plan layout matches submitted plan drawings

- Total square feet of the home matches submitted plan drawings

- Windows

  - Location

  - Size

  - U-Value

  - Solar Heat Gain Coefficient (SHGC)

- Wall construction type and R-value

- Ceiling

  - Heights

  - Construction type and R-value

- Floor construction type and R-value

- Occupant load (2 per master and 1 each per additional sleeping room)

## Items Reviewed to Meet Design Criteria Requirements:

The following items are reviewed to meet design criteria requirements:

- Equipment capacities satisfy entire designed loads

- Outdoor dry bulb is accurate for this climate (location)

- Indoor dry bulb design

- CFM value for central vent (fresh air)

- Infiltration method/construction quality

- Appliance/other loads are included

- Duct design

  - Velocity

  - Design friction rate

  - Return air pathways are indicated for sleeping rooms