# Residential Manual j, S, & D Overview

## Manual J Overview

The Manual J is how residential heating and cooling system needs are calculated. These calculations are based on construction components, local climate conditions, and the solar orientation.

## Manual S Overview

The Manual S is the equipment schedule. This portion of the report details the capabilities of the equipment being installed to satisfy the calculated design load from the Manual J.

## Manual D Overview

The Manual D is the duct design. This portion of the report details how the conditioned air will be delivered throughout the home. NOTE: Manual D may not always be applicable.