# commercial kitchen hood & duct process change

## General Information

Release Date: December 26, 2012

Topic: Mechanical & Fireplace Process Change – Effective February 1, 2013

To: Mechanical Contractors, Hood & Duct Contractors, and Building Contractors

## Process Change Information

Commercial kitchen grease ducts will require special inspection certification by a third party testing Agency. A copy of the inspection report shall be provided to the mechanical inspector at the time of the rough inspection. Air balance reports are still required prior to the issuance of the Certificate of Occupancy. It has been determined that inspection of duct fit up, connections and welding involves “testing” to verify code compliance. Often times this duct work is difficult to access for inspectors and requires testing in a dark environment to verify light passage through welded seams beyond the responsibility scope of the City of Meridian mechanical inspector.