# residential fireplace inspections process change

## General Information

Release Date: December 26, 2012

Topic: Mechanical & Fireplace Process Change – Effective February 1, 2013

To: Mechanical Contractors and Building Contractors

## Process Change Information

All residential fireplace units require a permit and inspection. The permit SHALL be pulled by the person/company that is “performing the installation”. Correction notices and “pass” stickers will be placed on the fireplace by mechanical inspectors. The installation must pass inspection BEFORE cover by the builder AND before the Meridian building inspector will “pass” the rough framing inspection. Final inspection stickers for the fireplace will be located on the fireplace.

Separately, correction notices for rough inspection for the residential mechanical permits will be placed on or near the front window of the dwelling. The mechanical final tag/sticker for the whole house system will be placed on the furnace or water heater, after the fireplace has been inspected and passed.